DC Measurement Device ModBus Layout
R/W	Register Type	Register Number	Function
W	Holding	3	Set Low Voltage Calibration
W	Holding	4	Set High Voltage Calibration
W	Multiple Holding	5-6	Set Low Current Calibration
W	Multiple Holding	7-8	Set High Current Calibration

R	Inputs	0	Voltage
R	Inputs	1	Current Low Word
R	Inputs	2	Current High Word